## Slide 1
The Habitable-Zone Planet
Finder (HPF) for the Hobby-Eberly
Telescope
Larry Ramsey
For the HPF team
(Penn State University)
Photonics & Planets, November 6 & 7 2014 Florence Italy

## Slide 2: The HPF Team
Suvrath Mahadevan (PI)
Graduate Students Researchers & Engineers
Ryan Terrien Paul Robertson
Sam Halverson Chad Bender
Arpita Roy Christian Schwab
Guodmundur Kari Steffanson Fred Hearty
Rob Marchwinski Larry Ramsey
Eric Levi
UVa & NIST Collaborators: Matt Nelson (UVa), Steve Osterman (CU), Scott Diddams, Gabe Ycas, Frank Quinlan (NIST)
HPF Blog: hpf.psu.edu

## Slide 3: Earths & Super Earths Around M Dwarfs
Mid/Late M stars are attractive targets since RV amplitude of terrestrial planets in HZ is so much higher than around F, G, K.

## Slide 4
M dwarfs emit most of their photons in the red and NIR.
(Pavlenko et al. 2007)
A NIR spectrograph can probe mid-to-late M dwarfs.
Y+J+H
V
Earths & Super Earths Around M Dwarfs
System | ΔRV (m/s)
Sun-Jupiter | 12.5
Sun-Earth | 0.089
Proxima Cen -Earth (1 AU) | 0.4
Proxima Cen -Earth (Hab. Zone) | 1.3

## Slide 5
The NIR Bands
The Y band is quite clean compared to J and H, and has a lot of of RV information for mid-late M dwarfs……

## Slide 6
Habitable Zone Planet Finder (HPF) on the HET
Development and Construction of HPF Funded by NSF MRI

## Slide 7
HPF on HET
R~ 50,000
f/3.65 fiber input at telescope focal plane
~3pixel sampling of Resolution element
Asymmetric White Pupil design, ‘R4’ Echelle, VPH cross Disperser
RV precision < 3m/s (requirement), goal of 1m/s
H2RG cooled to ~100 K
Rest of instrument cooled to 180 K

## Slide 8
HPF on HET
Covers Z, Y & J bands 820 nm (100% of order 74) to 1250 nm 69% of order 48) on one H2RG. One science fiber, calibration fiber and sky fiber.
Simulations of various fiber configurations for HPF including science, sky and calibration.

## Slide 9
HPF on HET: Survey
Need a large number of RV observations to detect non-transiting planets. Sample is ~300 M dwarfs, with ~50-100 most promising getting 100 RV observations.
Whole HPF Survey is HET queue based

## Slide 10
HPF on HET
Target Lists being populated, Fe/H, visni’s being determined for a large number of M dwarfs with IRTF & APOGEE. (Ryan Terrien, PhD Thesis)

## Slide 11
Challenges in NIR RVs
NIR Detectors (They are not CCD’s!)
Calibration is Key
Temperature & Pressure Stabilization with Cryogenic Instrument
Fiber Modal Noise, Scrambling
Stellar Activity
Telluric Absorption

## Slide 12
Challenges: NIR Detectors
Inter Pixel Capacitance
Image Credits:, Jim Beletic, Teledyne
Latency
(Persistence)
High and Variable Noise
Wide QE Distribution
H2RG Devices

## Slide 13
Pathfinder TESTBED
H1

## Slide 14
Pathfinder : On ‘Sky’ Performance in Lab
Achieve 7-10m/s rms scatter on Sunlight with two different configurations and simultaneous Th-Ar calibration. Suggests detector issues like persistence and parasitic ghosting are not a killer at ~< 10m/s. This is short term stability.
Ramsey et al. 2008

## Slide 15
Pathfinder @ HET
Observations of Tau Boo with Pathfinder@ HET
Orbit Recovered
star
U/Ne

## Slide 16: Calibration is KEY
HPF System Models based on archived line-lists, assumes S/N max of 300 in extracted spectrum
FPRD
Requirment
Notes: When comparing the velocity information content of each of wavelength reference, you see the obvious benefits of using photonic references. These models all assume three pixel sampling of the resolution element, a resolution of 50,000, and a peak S/N of 300 in the extracted spectrum.
----- Meeting Notes (5/24/13 10:08) -----
emphasis this is only information content only, draw line at FPRD, we can get significantly higher s/n with 20 pixels spatially

## Slide 17
HPF Calibration System
The HPF Calibration systems feeds light from the different sources (FFP, comb, U/Ne, flat) into an integrating sphere which then feeds the HPF calibration fibers and the HET wide field calibration unit.
Sam Halverson SPIE 2014
The HPF calibration and laser comb are located in an insulated room adjacent to the HPF

## Slide 18
Pathfinder @ HET

## Slide 19
RVs with Simultaneous Ref.
Stellar NIR RVs with Laser Frequency Comb
Ycas et al. 2012, Optics Express
comb
star

## Slide 20
On-Star RV Results with a NIR Frequency Comb!
May-August 2010: 7-15m/s RV precision
“Absolute” RV for Eta Cas consistent with Nidever et al. 2002 to ~25m/s

## Slide 21
Calibration Is KEY
PATHFINDER SDSS-IIII APOGEE
~10m/s ~100m/s
U/Ne, Freq. Comb. Th-Ar, Sky OH

## Slide 22
Fiber Fabry Perot: FFP
Fiber Fabry Perot: Compact, Insensitive to Vibrations.Collimation is not a Problem.
SMF 28 has a 8-10 micron Core
Halverson et al. 2012

## Slide 23
FFP+APOGEE
Needs a supercontinuum source to feed enough light through the 8micron core.
Expected Stability ~1m/s

## Slide 24
FFP+APOGEE

## Slide 25
FFP+APOGEE
FFP Provides: Resolution, PSF, Persistence, and Instrumental Drift calibration……

## Slide 26
FFP+APOGEE
~3-5m/s structure seen after removing ~50m/s Linear trend. Calibration is KEY!

## Slide 27
Calibration Is KEY: Z, Y, J FFP for HPF
A temperature stabilized single mode fiber fabry perot (FFP) device is also part of the calibration sequence, providing <1m/s stability over many days and relaxing constraints on the laser frequency comb
Sam Halverson, Phd Thesis

## Slide 28
Challenges: Temperature &
Pressure Control
HPF Cryostat is based on the very successful design of the SDSS-APOGEE NIR Spectrograph

## Slide 29
Challenges: Temperature
Control
Concept is to cool with radiative coupling.
Sides of enclosure coupled to LN2 with straps
Control sides of enclosure with heaters to ~1mK, let the radiative coupling cool the bench with the optics. ACTIVE CONTROL
1:4 Scale model of HPF Thermal shield, MLI blanket, bench, and prototype control system

## Slide 30
Challenges: Temperature
Control
First Tests results from Dec 2012
Retune PID
~1.5mK stability

## Slide 31
HPF Cryostat and Inner Radiation Shield. Thermal control to milli-Kelvin level demonstrated in a test cryostat using passive copper straps attached to LN2 tank in combination with active control of heater panels
Thermal Control & Cryostat
HPF Cryostat
Inner Radiation Shield

## Slide 32
Thermal Control & Cryostat
Active control of Radiation shields using heater panels. Instrument radiatively coupled to the shield. LN2 tank decoupled from AL6061-T6 instrument bench.

## Slide 33
Thermal Control & Cryostat
12 and 24 layer MLI Blankets being made in-house clean room where HPF will be integrated at PSU with Mylar and Bridal Veil (nylon). Blankets assembled using Nylon tag pins and some stitching.

## Slide 34
Thermal Control & Cryostat

## Slide 35
Challenges: Scrambling
HET pupil shape varies significantly with tracker position (HET far-field measurement simulator). Can cause changes in the PSF and spurious RV shifts.
Far field image can vary even at track center.

## Slide 36: Scrambling Gain
Challenges: Scrambling
Obviously want as high a scrambling gain as possible in near and far field without losing too much light.
The ideal scrambler for fiber fed instruments is effective in both near and far field, is compact and easy to align, and has high throughput.

## Slide 37
Scrambling Measurements

## Slide 38: A ball lens as efficient double-scrambler
With appropriate glass, diameter, and coating, high throughput (~80%) is achievable with simple mating sleeve, off-the-shelf connectors for quick prototype tests.
FC-connector
FC-connector
Rubber O-rings
FC mating sleeve
2.0 mm ball lens
Roy and Halverson et al. in prep

## Slide 39
Input
Near-field
Far-field
Input
Near-field
Far-field
Input
Near-field
Far-field
SGNF = 200
SGFF = 300
SGNF = 3000
SGFF = 1000
SGNF = 12,000
SGFF = 10,000
Roy and Halverson et al. in prep
Octagonal Fiber
Octagonal + Circular Fiber
Octagonal + DS + Octagonal
Scrambling Gain Results

## Slide 40
Goodman & Rawson 1981
Lemke et al. 2011
Modal noise mitigation
Modal Noise In Optical Fibers
Imperfections, stresses in fiber core, changes in input will change mode distribution, limiting achievable SNR
Modal Noise is worse in the IR
Worse for narrowband spectra (e.g. calibration sources such as frequency combs, high-finesse etalons).
Notes: Truncation of fiber output (e.g. by an entrance slit) leads to intensity decorrelation, centroid drifts.
Mode illumination variations manifest as PSF variations at detector.
Coherence, v, typical values of 1 for coherent sources, 0.01 – 0.05 for continuum sources.
Particularly a problem for high resolution spectrographs, narrow slits/wide fibers. Solving modal noise with coherent sources automatically solves for continuum sources.

## Slide 41
Mahadevan & Halverson+ 2014
σv= 20 m s-1
200 micron circular fiber illuminated with 1 MHz 1550 nm laser source
With many instruments turning to coherent laser sources for calibration, modal noise is a significant addition to the error budget.
  PSU Pathfinder LFC limited to 10-20 m/s precision with LFC
Modal Noise major limitation
in NIR PRV Work

## Slide 42: New solution: Dynamic Diffuser
Diffuser
Beam
OptoTune laser speckle remover
Oscillates laterally in x & y
Modal noise mitigation
Mahadevan ,Halverson, Ramsey et al. 2014

## Slide 43: Centroid drift comparison
Integrating sphere
Integrating Sphere +Dynamic Diffuser
Modal noise mitigation
Notes: Mode distribution was changed between each frame, allowed to settle.
----- Meeting Notes (3/27/13 15:14) -----
the plot on the lower right shows the x and y pixel drift.

## Slide 44
Assumes R=50k, 300 micron fiber with 100 micron slit at 1550 nm.
No diffuser
Diffuser on,
Coupled through integrating sphere
Modal Noise: Solutions For
Highly Coherent Sources
Notes: Photon limited drift error is 30 cm/s. Note this is ONLY ONE LINE, 10MHz laser line. (R 50,000 is 4 GHz at 1550)
----- Meeting Notes (5/24/13 10:08) -----
Worst case scenario for one line, noise is random

## Slide 45
σ = 0.3 m/s
σ = 1.3 m/s
σ = 19 m/s
Rot. Mirror + Int. Sphere
Diffuser + Int. Sphere
Int. Sphere
All tests use integrating sphere with 200 micron circular fiber.
In-between frames, the test fiber was perturbed and allowed to settle.
Halverson+ 2014
In single emission line
Modal Noise: Solutions For
Highly Coherent Sources

## Slide 46: Baseline Fiber Feed

## Slide 47
Earths Stellar Activity: Lower in the NIR
Stellar activity induced noise is lower in the NIR than the optical. RV variability for Sun estimated using SOURCE SIM solar spectral irradiance data and the FF’ technique (Marchwinski et al. 2014 in press)

## Slide 48: In Summary
HPF is a large facility class cryogenically cooled fiber fed spectrograph on a 10m telescope being optimized for ultra-precise RV measurements of M dwarfs
Cryostat and temperature control being built.
Challenges in calibration and modal noise overcome by ongoing R&D
Stellar activity in systems is critically important in understanding RV signal using NIR observations.